## BOQ
LIFE INSURANCE CORPORATION OF INDIA Eastern Zonal Office, Kolkata
NAME OF WORK:- E- Tender ( Percentage rate) for proposed civil Interior Work, Modular Furniture & Chairs, Electrical, AC Installations, Data & Telephone Cabling Work at Hazaribagh BO under Hazaribagh DO.
Note : This is Part of the main tender document . The Contractor has to quote percentage Rate on the estimated amount as per instruction in accordance with the main tender document terms and conditions, specifications etc. The tender consists of combination of both these parts.
Minimum BASIC PRICE wherever mentioned shall be F.O.R. at Site excluding GST.
SCHEDULE OF QUANTITY
Item No. | Description | Qty. | Unit | Rate ( Rs. ) | Amount ( Rs. )
1. PARTITION WORK
1.01 | Care fully removing glazed partition alluminium/wooden including proper stacking the dismantled material out side the work site within LIC premises as directed and making he damages good. | 350 | Sqm | 60 | 21000
1.02 | Re-fixing the removed materials including cuttings old glass/ premalinated boards as disired , providing new suitable screws/nails/angles/ tappered clip etc as required for alliuminium partition etc all complete. | 100 | Sqm | 1500 | 150000
1.03 | Dismantling of brick works of any thickness any floor and making the damages good including remival of debris from works site. | 25 | Cum | 1489 | 37225
1.04 | Providing & Fixing of Full Height partitions upto ceiling height consisting of G.I. frame and required 9mm thick Fire Retardant plywood confirming to IS 5509 , including providing and fixing of frame work made of special section powder pressed/roll from G.I. sheet with zinc coating of 120 gms/ sqm (both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, suitable anchore fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of 9mm thick Fire Retardant plywood to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The 9mm thick Fire Retardant plywood are to be fixed to the frame work with joints staggered to avoid through cracks , M.S. fixing channel of 99mm width (0.9 mm thick having two flanges of 9.5 mm each) to be proveded at the horizontal joints of two 9 mm thick Fire Retardant plywood , fixed to the studs using metal to metal flat head screws, including jointing and finished with both sides 1mm thick high pressured laminates of approved make & shade etc. complete with recommended adhesive , angle beads at corners (25 mm x 25 mm x 0.5 mm ), as per manufacture's specification and direction of engineer in charge all complete. (No extra payment shall be made above false ceiling) | 5 | Sqm | 4091 | 20455
1.05 | Providing & Fixing of Full Height (Partly glazed & partly paneled) partitions upto ceiling height consisting of G.I. frame and required 9 mm thick Fire Retardant plywood confirming to IS 5509 , including providing and fixing of frame work made of special section powder pressed/roll from G.I. sheet with zinc coating of 120 gms/ sqm (both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, suitable anchore fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of 9mm thick Fire Retardant plywood to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The 9mm thick Fire Retardant plywood are to be fixed to the frame work with joints staggered to avoid through cracks , M.S. fixing channel of 99mm width (0.9 mm thick having two flanges of 9.5 mm each) to be proveded at the horizontal joints of two 9 mm thick Fire Retardant plywood , fixed to the studs using metal to metal flat head screws, including jointing and finished with both sides with both sides 1mm thick high pressured laminates of approved make & shade etc. complete with recommended adhesive , 6mm thick plain float glass fixed above 1200 mm height upto 2100 mm height including itching (Design as approved by LIC) fixed with Teak wood beading of 32 mm x 12 mm size finished with laquer polishing. Glass panel shall be 1200x900 mm ht aproximately with required suitable beads etc. for fixing of glazing , as per manufacture's specification and direction of engineer in charge all complete. (No extra payment shall be made above false ceiling) | 10 | Sqm | 3946 | 39460
1.06 | Providing and fixing 1200 mm ht. double skin wooden partition with following specifications. a) Providing and fixing of 1200 mm height approx(Low Height) partition consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/ sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete. | 40 | Sqm | 4091 | 163640
1.07 | Providing and fixing ISI marked flush door shutters 30 MM THICK conforming to IS :2202 (Part I) non- decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters,T.W beading alaround the shutter, 30 mm thick including ISI marked Stainless Steel butt hingeswith necessary screws . (Rate to include cost of cutting shutter for fixing glass and providing suitable T W beading , if required as diected . ) | 18 | Sq.M. | 3136 | 56448
1.08 | Providing and fixing Fully Glazed main entrance door, single/double leaf made of 12 mm thick float glass including etching and edge polishing with 40 mm thick teak wood (second class) 150mm top rail,200mm bottom rail and 150mm styles. The door shall be fitted with heavy duty floor spring and pivot of approved make, 2 nos 300mm long 25 mm dia stainless steel pipe handles per shutter including melamine polish.( Floor spring, SS handle & other hardware fittings will be paid in respective item) | 4 | Sq.M. | 4465 | 17860
1.09 | Providing and fixing Seasoned Sal Wood work of any section and size for door/window frame, partitions, wall/column paneling including the cost of making rebate, if any, fitting fixing with screws/nails/holdfast whatever necessary , treated with anti termite solution, jamming with concrete/ fixed to the wall or partition where ever necessary etc. complete and as per direction. The cost includes the laquer polishing/painting to the exposed portions of frames as per site condition and as directed. | 0.1 | Cu.M. | 108052 | 10805
1.1 | Providing and fixing Fire Retardant Ply conforming IS 5509 of approved make including all fixing materials, adhesives etc including wastages and taking out damaged ply from shutter.
a) | 6mm thick | 5 | Sq.M. | 730 | 3650
b) | 9mm thick | 5 | Sq.M. | 1074 | 5370
c) | 12mm thick | 5 | Sq.M. | 1341 | 6705
d) | 19mm thick | 5 | Sq.M. | 1793 | 8965
1.11 | Providing & fixing / Placing glass panes including cost of beading complete as per drawing & direction.
a) | Clear Glass panes - 4mm thick | 5 | Sq.M. | 1370 | 6850
b) | Clear Glass panes - 5 mm thick | 5 | Sq.M. | 1664 | 8320
c) | Extra cost for etching/sand blasting of the glass as per design and direction. | 10 | Sq.M. | 554 | 5540
1.12 | Providing and fixing Running table top 600 mm wide & 750 mm height of table top with Chamfering at corners/ straight as directed, made with 19mm thick Fire Retardant Ply and 1mm thick high pressured lamination at top. Vertical supports of 600 mm wide @ 1200 to 1500 mm c/c with 19mm th. Fire Retardant Ply & 1mm thick high pressured lamination on both sides and all unexposed surfaces shall be provided 0.8 mm white/light colour balancing. Suitable Teak wood beading to exposed edges with polish all complete with neat finish as directed. | 3 | R.M | 3488 | 10464
1.13 | Providing and fixing Running table top 450 mm wide and one self 150 mm below 350 mm wide & 750 mm height of table topm with Chamfering at corners/ straight as directed, made with 19mm thick Fire Retardant Ply and 1mm thick high pressured lamination at top. Vertical supports of 600 mm wide @ 1200 to 1500 mm c/c with 19mm th. Fire Retardant Ply & 1mm thick high pressured lamination on both sides and all unexposed surfaces shall be provided 0.8 mm white/light colour balancing. Suitable Teak wood beading to exposed edges with polish all complete with neat finish as directed. | 20 | R.M | 3488 | 69760
| SUB TOTAL = |  |  |  | 642517
2. STORAGE UNIT
(For all type of Storage Units, the front elevated area shall be measured for payment.).
2.01 | Providing & fixing factory made 450mm deep and 1200mm/ ht as directed , storage unit as per following: | 75 | Sq.M. | 9492 | 711900
The sides, top, bottom shall be made of not less than 0.8mm thick CRC sheet of required size. The members shall be without any burrs and dents.
02 nos. Intermediate shelves shall be made of not less than 0.8mm thick CRC sheet. Shelves shall have lipped flanges 25 mm in width and 15 mm in depth. Each shelf shall be supported on four adjustable shelf brackets made of steel sheeting not less than 1.6 mm thick. Four rack strips of not less than 1.0 mm thick shall be provided for supporting the shelves, covering the full height of the cabinet.
Front openable Door Shutter shall be made of not less than 0.8mm thick CRC sheet with provision of sufficient stiffness by providing metal stiffener. The doors shall be provided with handle and 2 way locking system with duplicate keys of non-corrodible material. The door handle and lock shall be of approved make.
Each unit shall be supplied with level adjuster which allows 25 mm height adjustment with necessary hinges of approved quality.
All dents, burrs and sharp edges shall be removed from the various components and finished with powder coating of 50 micron of approved shade & colour by engineer in charge.
| SUB TOTAL = |  |  |  | 711900
3. FALSE CEILING
3.01 | Providing & erecting Suspended Ceiling System with similar to Armstrong “CLASSIC LITE” ( H 1673M OR 1892M/1893M) Tiles in module size of 600mm X 600mm X 16 mm (M1672), laid with suprafine15 mm Hot Dipped Galvanized Steel Suspension system Zinc Coated having Rotary Stitched. All as per manufacturers’ specification. | 150 | Sq.M. | 1654 | 248100
Frame work
Comprises main runners width 24mm and web height 35mm made out of 0.4 mm hot dipped galvanized steel spaced at 1200 mm centers securely fixed to the structural soffit by approved hangers at 1200mm maximum centers and not more than 150 mm from spliced joints. The last hanger at the end of each main runner should not be greater than 600 mm from the adjacent wall. 1200 mm long cross tees of web height 35mm and made out of 0.4 mm thick galvanized steel to be interlocked between main runners at 600 mm centers to form 1200 X 600 mm modules.
Cross tees longer than 600 mm require independent support. 600 X 600 mm modules to be formed by fitting 600 mm long cross tees centrally between the 1200 mm cross tees. Perimeter trim to be wall angles 19mm X 19 mm secured to walls at 450 mm maximum centers- all as per manufacturer’s specifications
The cost to include the cost of frame work for providing lighting arrangement CFL or mirror optic and providing making additional T/angle for creating opening for providing lights for which no extra payment will be made.
(Only plan area will be measured for payment.)
3.02 | Providing & fixing at all height false ceiling with G.I. section manufactured by M/s. Gypsum India Ltd (Gypsteel). The framing sections of the ceiling are 0.55mm thick Perimeter channel having flange of 20mm & another flange of 30mm & web of 27mm (20 x 27x30 x 0.55 mm) fixed at 610 mm c/c and connected to suspended GI intermediate channel (15 × 45 ×15 x 0.9 mm thick) at 1220 mm C/C with ceiling angles of size 25 × 10 × 0.55 mm thick. Fixed to soffit with GI cleat & steel expansion fasteners. Ceiling section of 80 x 26 x 0.55 mm thick having knurled web of 51.5mm & two flanges of 26mm each with lips of 10.5mm are to be fixed to the intermediate channel with the help of connecting clip of size 2.64mm dia and in direction perpendicular to intermediate channel at 475 mm centers including fixing of 12.5 mm thick tapered edge gypsum board (conforming to IS: 2095-1982 & 2542-1981) with dry wall screws at 230 mm c/c, to have a flash finish of tapered and square edges of the gypsum board with recommended filler, paper tapes, finisher, all as per manufactures specification. | 450 | Sq.M. | 1005 | 452250
Including two coats of primer suitable for gypsum board two or more coats of acrylic distemper paint of approved shade and also including making necessary opening for light fitting, grills, diffusers, cut outs made with frame of perimeter channels suitably fixed all complete as per drawing and specification and direction.
(Note: only plan area shall be measured for payment. Drops below AC ducts of any depth will not be measured for payment. The drops for design purpose, which are provided as directed, will be measured and paid separately. No deductions for light cutting separately).
| SUB TOTAL = |  |  |  | 700350
4. FINISHING & PAINTING
4.01 | Providing and laying double charged vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS : 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), including laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), including grouting the joints with white cement and matching pigments etc. or cement based high polymer modified quick-set tile adhesive (Water based) conforming to IS: 15477complete with required thickness. - Size of Tile 600 mm x 600 mm, 600mmx1200mm /800 mm x 800 mm (Basic Rate of Tiles Rs.645.00 per Sqm). including skirting etc. | 600 | Sq.M. | 1540 | 924000
4.02 | 15 mm cement plaster of mix : 1:4 (1 cement : 4 fine sand) etc. complete- Inside Wall | 50 | Sq.M. | 298 | 14900
4.03 | Providing and applying WHITE CEMENT BASED Wall care putty as per approved make having 1.00 mm thick to new plastered surface walls, beams, slabs etc after preparation of base as directed complete. | 50 | Sq.M. | 118 | 5900
4.04 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. of approved quality & shade with a coat of primer including preparation of surface on wall etc. | 500 | Sq.M. | 102 | 51000
4.05 | Providing and applying two or more coats synthic enamel paint over wooden surface with a coat of primer of approved make and shade to doors/windows including scraping and preparing of old surface. | 100 | Sq.M. | 123 | 12300
4.06 | Providing & applying Two or more coats Melamine Polishing on Wood work including suitable fillar. | 20 | Sq.M. | 332 | 6640
| SUB TOTAL = |  |  |  | 1014740
05. MISCELLANEOUS ITEMS
5.01 | Providing & fixing roller Blinds of approved quality ,shade and design including channel, fixed the channel as per site condition and manufacturers specifications of approved make.(Vista/MAC/Excel or equivalent make) | 110 | Sq.M. | 2200 | 242000
5.02 | Dismantling of Brick Work of any thickness, making good the damages , removing the debris from work place. | 1 | CuM | 1489 | 1489
5.03 | Dismantling of RCC of any thickness and staking reinforcement, making good the damages, removing debris from work place. | 1 | CuM | 2567 | 2567
5.04 | Dismantling of Plain cement concrete of any thickness, making good the damages , removing the debris from work place. | 1 | CuM | 1087 | 1087
5.05 | Dismantling the existing flooring including mortar making good the damages , removing the debris from work place.. | 600 | Sqm | 17 | 10200
5.06 | Brick work with common burnt clay machine molded perforated bricks of class designation 12.5 conforming to IS: 2222 in superstructure above plinth level up to floor five level in cement mortar 1:6 (1 cement : 6 coarse sand) : With F.P.S.(non modular) bricks | 20 | Sqm | 915 | 18300
5.07 | Transportation charges for carting away the waster debris/excavated earth etc. beyond 50 meters lead and outside the LICI premises etc. complete. (one unit = 5 Cu.M. or part of it). For 2 KM @119.54/ Cum | 15 | Unit | 598 | 8970
5.08 | Soft Board Panel: Soft Board Panel using 4 mm FSC Certified Fire Retardant Plywood as backing and fixed with Soft Board and covered with rate of fabric Rs 300/-per Sqm (The measurement of the tile actual area of the fabric panel on each side shall be for payment). The Panel shall be fixed with 18 x 12 mm rubber wood beading. Fixing shall be done by using wall clips for hanging the soft board. The rubber wood shall be melamine polished all complete. | 8 | Sqm | 2257.5 | 18060
5.09 | Contarcactor's Overhead and profit for fixing of Prime Cost Item including cost of necessary screws , nails etc complete |  |  |  | 12500
5.1 | Grinding & polishing of existing marble flooring /skirting with suitable carborendum stone & machine and cleaning , washing with oxallic acid /chemical, polishing all complete. | 80 | Sqm | 368 | 29440
| SUB TOTAL = |  |  |  | 344613
06. HARDWARE FITTING & FIXTURES
6.01 | Prime Cost Amount reibursement of actual pirce of materials excluding GST towards purchase of approved hardware fittings etc. | 50000 | LS |  | 50000
| SUB TOTAL = |  |  |  | 50000
07. MODULAR FURNITURE & MODULAR PARTITION
7.01 | Fabrication & supply of tile based free standing modular partition of ht. 1200/1500 mm (approx.) and 65 mm thick (minimum) including top trim, end trim, corner filler, adjustable glide screws, top hinged race ways, cover plate, etc. complete for the following type of partition and consist of the following : | 40 | Sq.M. | 4944 | 197760
Modular partition frame made out of Aluminium section/ roll formed M.S. sections, 16 gauge for core frame & intermediate members. The core frame consist of a rectangular frame fixed with nut & bolt to horizontal sections to form a rigid structure. All M.S. and C.R.C. components shall treated with 7 tank galvanized process & finished with 50 micron thick Epoxy powder coating of approved shade. Each frame supplied with levelling bolts with knurling/fiber knob which allows 25 mm adjustment. The size of the partition will be as specified in the drawings.
Skirting : 100 mm high skirting top hinged panel cover raceways out of M.S. sheets and finished in approved shade powder coating.
Raceways : Concealed race way below/ above work station top for transporting wires, cables and conduits with top hinged flap out of MS powder coated sheets. The bottom race way will have wire carrier hangers and no horizontal member at the floor level.
Top Trims & End trims : Shall be of extruded aluminium sections of shape and finished with approved shade powder coating. Caps & Corner filler : shall be of ABS filler Caps which should match very closely to the colour of top cap and end trims.
Tile panel : All partitions shall have on both sides the tile panel of 12 mm thick. Pre laminated Particle Board (O.S.L.) of interior grade. All the edges shall be finished with hot pressed PVC lipping of matching shade. The tiles shall have sufficient number of clips on rear side to fix the tiles on partition. The tiles shall be fixed flush to the partition.
The partitions should have a minimum of 9 kg/Sq.M. steel per Sq.M. of partition frame. The steel should be manufactured by SAIL/ TISCO/JINDAL/RIN Ltd./ ESSAR STEEL, if Aluminium section, manufactured by Hindalco/ Jindal/Indal. The supplier of furniture should submit proof of purchase of steel from the manufacturers and test certificates as well.
7.02 | Extra payable for providing Fabric panel (non tackable type) in lieu of pre laminated particle board panes in partition mentioned in item no.12.01) above. The non tackable tiles shall be made of 0.6 mm thick G.I. sheet with an inlay of 8 mm thick Polyurathene foam having density of 20 Kg/Cu.M. Fabric shall be with fire retardent coating and scotch guard for stain resistance glued to the G.I. sheet. The basic price of fabric Rs.300/R.M. (The actual fabric panel on each side shall be measured for payment. | 0 | Sq.M. | 265 | 0
7.03 | Extra payable for providing Fabric panel (tackable type) in lieu of pre laminated particle board panes in partition mentioned in item no.12.01 above. The tackable tiles shall be made of 0.6 mm thick G.I. sheet with an inlay of 6 mm thick cross lone foam having density 50-60 kg/Cu.M. Fabric shall be with fire retardant coating and scotch guard for stain resistance glued on G.I. sheet. The basic price of fabric Rs.300/R.M. (The area of actual fabric panel shall be measured for payment. | 5 | Sq.M. | 381 | 1905
7.04 | Fabricating & supplying modular Mobile pedestal drawer unit of following sizes and shall consist of following and with anti toppling device when all drawers are open. (For Officers, HGA/Asstt & DO)3+14+13=30 | 30 | No. | 5135 | 154050
Pedestal Drawer unit : Size 450mm X 515 mm X 722 mm height.
Carcass : Made out of 0.8mm thick M.S. sheet, treated with 7 tank Galvanished process and finished with powder coating of approved shade & thickness of 50 microns.
Drawer : 2 Nos. of drawers &1 no. filing drawer made out of 0.6 mm thick M.S. sheet, treated with 7 tank Galvanished process and finished with powder coating of approved shade & thickness of 50 microns. The drawers shall be mounted on 2 nos. telescopic channels for smooth operations.
Locks : The units shal have central locking (7 lever) lock in front with hinge key in two sets.
Handles : The units shall have M.S. pressed concealed handles to every drawer.
The unit shall have 4 nos. glide screws with hesight Adjustment of +/- 10mm.
7.05 | Fabricating and supplying modular Mobile pedastal drawer unit of following sizes and shall consist of following and with anti toppling device when all drawers are open. (For Staff & Sub-Staff.)36+4=38 | 38 | No. | 4908 | 186504
Pedestal Drawer unit : Size 380mm X 450 mm X 722 mm height.
Carcass : Made out of 0.8mm thick M.S. sheet, treated with 7 tank Galvanished process and finished with powder coating of approved shade & thickness of 50 microns.
Drawer : 2 Nos. of drawers & 1 no. filing drawer made out of 0.6 mm thick M.S. sheet, treated with 7 tank Galvanished process and finished with powder coating of approved shade & thickness of 50 microns. The drawers shall be mounted on 2 nos. telescopic channels for smooth operations.
Locks : The units shal have central locking (7 lever) lock in front with hinge key in two sets.
Handles : The units shall have M.S. pressed concealed handles to every drawer.
The unit shall have 4 nos. glide screws with height Adjustment of +/- 10mm.
7.06 | Supply of “ebco” or any other equivalent make powder coated metallic sheet Key Board Tray (Model No. KBTM 35) of size 500 X 260mm with sliding channel on bothsides and inbuilt sliding Mouse Pad Tray (LHS/RHS ) as per the approved sample 1+14+31+1=47 | 54 | No. | 1398 | 75492
7.07 | Fabricating and supplying below work station movable type M.S. powder coated CPU trolley of size 230mm X 270mm X 150mm for placing any size of CPU unit, made out of 16 SWG M.S. sheet with 4 nos. of lockable type castors etc. complete. | 54 | No. | 551 | 29754
7.08 | Supplying of factory made modular free standing table unit of size 1800 X 900 X 750 mm height, complete consists of the following : (For Branch Manager) | 3 | No. | 12288 | 36864
Top : Table top shall be of 25mm thick Particle Board in one piece with front edge in half round Post formed moulding, finished with 0.6 mm thick approved laminate including Mini fixing joinery.
Gable Ends : 2 Nos. out of 25mm thick Particle Board in one piece with front and rear edge in half round Post formed mould with leveling bolts which allow 25mm adjustment, finished with 0.6mm thick laminate.
Modesty Panel : Out of 18mm thick Pre-laminated particle board in one piece with levelling bolts which will allow 25 mm adjustment including making provision for wire management and fixation of switches/sockets.
Providing and fixing 40mm dia. cable entry at the specific location after drilling hole of required size in the work station top with ABS cover.
Edges : All the edges finished with 2mm thick PVC hot pressed lipping of matching colour..
Finish : Top & Gable End finished in post formed with 0.6mm thick laminate and other surfaces with 1 mm thick laminate of approved shade.
7.09 | .---Do--- as above of item no. 7.08 but size 1500x750x750 mm (height) (For Officers) | 14 | No. | 10339 | 144746
7.1 | .---Do--- as above of item no. 7.08 but size 1500x600x750 mm (height) (For Development Officers) | 13 | No. | 10085 | 131105
7.11 | .---Do--- as above of item no. 7.08 but size 1350x600x750 mm and without 40 mm dia. cable entry and ABS cover. (For Staff) | 38 | No. | 9075 | 344850
7.12 | .---Do--- as above of item no. 7.08 but size 900x500x750 mm and and without 40 mm dia. cable entry and ABS cover. (For Sub Staff & Comp. Table for DO) | 4 | No. | 6780 | 27120
7.13 | Providing, supplying & placing in position modular side credenza of size 900mm X 450 X 722mm consisting of following : 13+14+38=80 | 65 | No | 6780 | 440700
Top : Top made out of 25mm thick Particle board with front edgte in half round post formed moulding.
Carcass/shelf made out of 18mm thick pre laminated particle board (OSL) interior grade.
Shutter made of 18 mm thick pre laminated particle board (OSL) interior grade with sliding channel with double ball bearing for smooth operation.
Skirting : 50mm high skirting out of 18mm thick pre laminated particle board.
Locks : The unit shall be provided with Push button Lock with hinge keys in two sets.
7.14 | Providing, making & placing of Side Credenza of overall size 1350 mm long, 450 mm wide and 722 mm ht. made of 19 mm thk. Fire Retardant Ply wood ( IS 5509) at top, bottom, sides & in one shelf of 540 mm wide (below key board). 6mm thick Fire Retardant Ply wood ( IS 5509) at rear side. One no. “ebco” or any other equivalent make powder coated metallic sheet Key Board Tray) of size 510 X 230 mm with sliding channel on both sides with soft palm and inbuilt sliding Mouse Pad Tray (LHS/RHS), one openable shutter with 19mm thk. Fire Retardant Ply wood ( IS 5509) including making slit opening of suitable size for paper feeding on the top of side unit, shelf of 19mm thk. Fire Retardant Ply wood ( IS 5509) and T.W. leaping at edges. Exposed portions to be finished with 1mm thick laminates of approved make & shade and internal surfaces with with 0.8 mm high pressured balancing laminates etc complete including all necessary hardware such as stain less steel, handles,. locks of approved make & as directed.(DM/ADM) | 3 | No | 9237 | 27711
| SUB TOTAL = |  |  |  | 1798561
08. MODULAR CHAIRS
8.01 | Providing & supplying of High back cushioned chair with following size & specifications (Similar to Godrej Model PCH – 7001R) (For B.M.) | 3 | No. | 6610 | 19830
Seat size –48cm (W) X 44cm (D) approx.
Back Size -48cm (W) X 66cm (H) approx.
a) | Seat & Back assembly
The seat & back shall be made of 12 mm thick hot pressed plywood & moulded polyurethane foam 50 mm thick with density of 45(+/-2)Kg/Cu.M in seat and 32(+/-2)Kg/Cu.M in back and hardness 20 Kg. on Hamden machine at 25% compression including PVC lipping. The back foam is designed with contoured lumber support for extra comfort.
b) | Leatherite Tapestry
Flame retardant leatherette tapestry of approved shade complete as directed.
c) | Tilting & Revolving Mechanism
The adjustable central tilting system shall be designed for 17 degree max. tilt. The tension shall be adjustable. It shall be provided with upright locking system. A full 360 degree swivel mechanism shall allow for fluid lateral movement.
The revolving & Synchronised tilting mechanism with locking arrangement in different positions & anti shock back mechanism is provided alongwith height adjustment mechanism & anti toppling mechanism.
d) | Gas lift:
The gas lift shall be maintenance free, environment friendly, chrome free cylinder tube fixed in a M.S. black powder coated central column tube 3.8 cm dia & 2.0 mm thick. It should have 10 cm. Stroke length & gass pressure of 300 N force.
e) | Pedestal assembly :
The pedestal shall be made of arc shaped CRC metal folded base with 2.3 mm thick steel strips and fitted with 5 nos. twin wheel pin castors of min. wheel dia. 50 mm. The 5 prongs shall be welded to the central bush made for 2.5 mm thick ERW steel tube with 63 mm OD and 60 mm length. The bush shall accommodate the housing of the gas lift. Diameter of CRC metal base shall be 660 mm with 5 pronged legs duly powder coated having powder coating thickness 50 to 60 microns. The M.S. pedestal is covered with ABS moulded cover for modern and aesthetic looks.
f) | Telescopic bellow assembly :
The bellow shall be 3 piece telescopic type and injection moulded in black Polypropylene.
g) | Twin wheel casters :
The twin wheel castors shall be injection moulded in 30% glass filled nylon & extra smooth.
h) | Polyurethane armrest :
The one piece armrest of diamond / rectangular / elliptical shape or any other approved shape shall be made of black integral skin polyurethane reinforced with M.S. insert & 50-70 share “A” hardness. The armrest shall be scratch proof & weather resistant. Armrest are fitted to the seat with powder coated armrests bracket made of 0.5 cm thick HR Steel.
i) | Powder coating :
All the steel components shall have epoxy polyester powder coating with dry film thickness of 45 microns (min).
8.02 | Do- as item no. 8.01 above but Medium back cushioned chairs but having following size: (For All Staff Table / work Stations) 13+38+14 | 67 | No. | 5847 | 391749
(Similar to Godrej Model PCH – 7042R)
Seat size –45cm (W) X 44cm (D) approx.
Back Size -45cm (W) X 55cm (H) approx.
8.03 | Providing & supplying Low back fixed cushioned chair with one piece armrest injection moulded in black polypropylene 50-70 shore “A” hardness and reinforced with M.S. insert. All as per approved & as directed etc. complete. (for Visitors, Agents, Sub-Staff & Other) (Similar to Godrej Model PCH – 7112R) 10+1+28+26+4+1+6=75 | 84 | No. | 3729 | 313236
Seat size –45cm (W) X 44cm (D) approx.
Back Size -45cm (W) X 47cm (H) approx.
a) | Seat & Back assembly
(Same as item no. 8.01 above)
b) | Leatherite Tapestry
Flame retardant leatherette tapestry of approved shade complete as directed.
c) | Tubular frame :
The tubular frame is cantilever type & made of 2.54 cm (1 inch dia) X 14 BG M.S. E.R.W. tube and powder coated.
d) | Polyurethane armrest :
(Same as item no. 8.01 above)
e) | Powder coating :
(Same as item no. 8.01 above)
8.04 | Entrance Lobby Metal Perforated Chairs:
Supplying and fixing multipurpose perforated chair in waiting lobby area made of 16 gauge MS perforated net with hole size 3mm for seat and back rest. The structure made of CRC pipes 14 gauge 50mm dia pipe, 19 mm dia pipe, bar of size 100x75 mm with 3 mm wide arms for individual seats , steel caps and adjustable screws. All the steel components shall have epoxy polyester powder coating with dry film thickness of 45 micron (min ) Sizes: Seat depth- 450mm, seat width 450 mm, back height 350 mm, seat height -441 mm and overall height -775 mm(approx),(Similar to Godrej Model PM-3)
| Three seater | 2 | No. | 13983 | 27966
8.05 | Supplying and fixing Sofa single / two / three seater as per requirement consisting of the following:
a) Fully upholstered / cushioned sofa in configuration of seats as per drawings or as directed with seat size 560 x 560 mm each, back 450 mm & arms 150 mm wide.
b) Made out of good quality Seasoned Hard wood frame work and teak wood arm rest under carriage and grid work of non sag spring, inclusive of 100 mm thick in seat and 75mm thick in back cushion of high density (45+/- Kg/Cum) PU foam, upholstered with flame retardant leatherette tapestry of Rs.350/- to Rs.400/- per metre of approved shade complete as directed.
| Three seater | 1 | Each | 17797 | 17797
8.06 | Supplying and fixing centre table made of teak wood and 10 mm thick glass top with melamine polish of following sizes as per approved drawing & as directed: over all size 1200x500x450 mm | 1 | Each | 7699 | 7699
| Total Sub Head |  |  |  | 778277
Estimate for RE-Modernization work with Air- Conditioning ( Electrical/IT/Fire Alarm/AC ) of BO- Hazaribagh
Schedule of Quantities
Item No. | Description of work | Qty. | Unit | Rate( Rs.) | Amount (Rs.)
1 | TELEPHONE NETWORK
1.01 | Supply and laying of 2 pair 0.5 sq.mm dia, FRLS PVC insulated annealed copper conductor unarmoured telephone cable in the existing suface/recessed steel/FRLS PVC Conduit as required in the floor, partition / wall etc. | 250 | Rm | 33 | 8250
1.02 | Supply & installation of following pair MDF BOX with required pair KRONE with lock & key arrangement fabricated from the MS sheet with powder coat to be fixed in concealed manner including making good the damages.
a | 10 pair | 2 | No | 387 | 774
1.03 | Supply and fixing of Telephone box suitable for RJ 11 terminals including mounting box and top cover, to be fixed in concealed manner in partition by providing & fixing on channels with necessary bolts & nuts Or as directed at site. | 20 | No. | 310 | 6200
1.04 | Same as above but dual type. | 1 | No. | 345 | 345
| SUB-TOTAL (TELEPHONE NETWORK ) | A |  |  | 15569
2 | DATA NETWORK
2.01 | Supply and fixing of information out let box suitable for RJ 45 terminals including mounting box (MS / PVC) and top cover, to be fixed in concealed manner in partition by necessary bolts & nuts. Or as directed at site (‘D’ Link make) | 60 | No | 466 | 27960
2.02 | Supply & installation of 24 port, 19 inch PATCH PANNEL suitable for rack mounting (D Link make) | 4 | No | 3883 | 15532
2.03 | Installation& commissioning of managed Data Switches suitable for rack mounting supplied by LICI. | 4 | No | 705 | 2820
2.04 | Supply and laying of ECAT 6 UTP Cable for the data circuit through the FRLS PVC conduit.Rate to include termination on either end or as directed. (‘D’ Link make) | 1200 | RM | 35 | 42000
2.05 | Supply of 2mtr long (cat-6 )factory made PATCH CORD Original (Locally made patch cords shall not be accepted) (‘D’ Link make) | 60 | No | 270 | 16200
2.06 | Supply of 1 mtr long( cat-6) factory made PATCH CORD Original (Locally made patch cords shall not be accepted) (‘D’ Link make) | 60 | No | 252 | 15120
2.07 | Supply and Installation of 19”, 12U (WALL MOUNTING TYPE) MODEM RACK with following accessories. | 2 | Set | 8329 | 16658
1. 230 V, AC Distribution box with 6 nos of 5 A socket out lets – 1 No.
2. Cable manager – 2 Nos
3. Cantilever shelf – 2 Nos
4. Single fan module – 1 set
5. Mounting kit – 1 Packet
2.08 | Dismantling & re-installation with grounting etc of 12 U/ 9U /6U Rack as directed incluiding making good the damages. | 1 | Set | 846 | 846
2.09 | Charges for Testing & Commissioning of the structured cabling system incluiding dismantling of existing Patchcords ( 1 mtr & 2 mtr ) & refixing the same patch cords as directed. | 60 | Pt. | 59 | 3540
| SUB-TOTAL ( (DATA NETWORKING ) | B |  |  | 140676
3 | UPS POINT WIRING ALONG WITH ITS ANCILLARIES
3.01 | PRIMARY UPS POINT:-Supply & Installation of a primary UPS point consisting and supplying of a set of 3 No 10 Amps. 5 Pin modular multi socket & 3 No of 10 Amp. Modular Switch including suitable depth modular type PVC recessed type / surface type switch box & modular range faceplate & inner cover of same make to be concealed in partition / wall/work station etc including all connections & earthing with electrical wiring with 3 x 2.5 sqmm PVC insulated multi core round insulated FRLS flexible cables in rigid FRLS PVC conduit pipe ( Medium classe) of suitable size/ PVC cable tray as required . ( for UPS power on work stations & tables) | 20 | Pt. | 2430 | 48600
3.02 | SECONDARY UPS LOOPING POINT:-Supply & Installation of secondary UPS looping point consisting and supplying of of a set of 3 No 10 Amps. 5 Pin modular multi socket & 3 No of 10 Amp. Modular Switch including suitable depth modular type PVC recessed type / surface type switch box & modular range faceplate & inner cover of same make to be concealed in partition / wall/work station etc including all connections & earthing with electrical wiring with 3 x 1.5 sqmm PVC insulated multi core round insulated FRLS flexible cables and rigid FRLS PVC conduit pipe ( medium class) of suitable size . This secondary point has to be looped from the Primary point as per item no.3.10 ( for UPS power on work stations & tables) | 40 | Pt. | 1814 | 72560
3.03 | POWER POINT:-Supply & Installation of a power point consisting and supplying of a set of 1 No 20 Amps snap switch and 3 nos 20 amp 6 Pin modular multi socket including suitable depth modular type PVC recessed type / surface type switch box & modular range faceplate & inner cover of same make to be concealed in partition / wall/work station etc including all connections & earthing with electrical wiring with 3 x 2.5 sqmm PVC insulated multi core round insulated FRLS flexible cables and rigid FRLS PVC conduit pipe (heavy gauge) of suitable size as per requirement. ( for UPS power TO MODEM RACK,CURRENCY COUNTING MACHINES etc) | 4 | No | 1943 | 7772
3.04 | POWER POINT:-Supply & Installation of a point consisting and supplying of a set of 1 No 20 Amps snap switch and 1 nos 20 amp 6 Pin modular multi socket including suitable depth modular type PVC recessed type / surface type switch box & modular range faceplate & inner cover of same make to be concealed in partition / wall/work station etc including all connections & earthing with electrical wiring with 3 x 2.5 sqmm PVC insulated multi core round insulated FRLS flexible cables and rigid FRLS PVC conduit pipe (heavy gauge) of suitable size . | 4 | Pt. | 1772 | 7088
| SUB-TOTAL ( UPS POINT WIRING ALONG WITH ITS ANCILLARIES) | C |  |  | 136020
4 | CONDUIT & RACE WAYS
4.01 | Supply and laying of following size rigid PVC conduit pipe (Medium Class) through floor / wall / partition with GI spacer clamps incluiding all accessories – bends, sockets T’s etc. or as directed. Rate to include for cutting of walls/Floors incluiding making good the damages i.e for filling and finishing the same with cement mortar.
(a) | 32mm dia | 20 | Rm | 161 | 3220
(b) | 25 mm dia | 100 | Rm | 127 | 12700
(c) | 20mm dia | 200 | Rm | 112 | 22400
4.02 | Supply & Fixing of following size PVC casing & Capping on the surface of wall / partition, including accessories
| (a) 20 x 12mm | 5 | Rm | 28 | 140
| (b) 25 x 12mm | 5 | Rm | 33 | 165
| (c) 32 x 12mm | 5 | Rm | 42 | 210
4.03 | Supplying & fixing of following size MS Junction box (16SWG) with STAINLESS STEEL plate cover shall be provided flush with the floor / floor tiles or as directed. Rate top include for cutting the floor and making good the damages.
(a) | 250 x 200 x 50mm | 10 | No | 610 | 6100
(b) | 200 x 150 x 50mm | 10 | No | 493 | 4930
(c) | 150 x 100 x 50 mm | 15 | No | 434 | 6510
(d) | 100 x 100 x 50 mm | 15 | No | 329 | 4935
4.04 | Supply & laying of 100mm × 100mm size PVC cable tray on the surface of the wall. | 10 | Rm | 164 | 1640
4.05 | Doing cutting of floor tile / wall to lay and conceal the cables/ conduits as directed. Rate to include for filling and finishing the same with cement mortar.
( a) | 1.5” width cutting | 30 | RM | 100 | 3000
(b ) | 2.5” width cutting | 15 | RM | 140 | 2100
( c ) | 3” width cutting | 22 | RM | 160 | 3520
4.06 | Supply & laying of ¾ “ size PVC flexible conduit | 55 | Rm | 25 | 1375
4.07 | SITC OF RACE WAY:-Supplying and installing following size aluminimum race way for laying data , ups andtelephone cables as required including cutting of floor and making the damage to original finish.
(a) | 100x30x1.6 mm | 10 | RM | 325 | 3250
4.08 | SITC of Cu. Wire ;--Supply & drawing of following size FRLS insulated copper conductor single core cable in the existing surface/recess steel/FR PVC Conduit as required.
(a) | 3x1.5 sqmm | 30 | RM | 83 | 2490
( b) | 3x2.5 sqmm | 20 | RM | 120 | 2400
(c ) | 3x4 sqmm | 40 | RM | 181 | 7240
| SUB-TOTAL ( CONDUIT & RACE WAYS ) | D |  |  | 88325
5 | FITTINGS & FIXTURES
N.B :--supply & laying 3 core 1.5 sq.mm pvc insulated & pvc sheathed multi core copper conductor,round flexible cable as lead wire for light fittings from the existing ceiling roses to Light fittings for below mentioned item no-5.01 which is inclusive of cost of fittings.
5.01 | 36 WATT LED 2 X 2 FT FITTINGS:-Supply,installation,testing and commissioning of LED recessed fittings 0f 36 watt( 3600 Lumens or more) system power suitable for 2 x 2 tile of armstrong/grid/pop ceiling with stainless steel chain to suuport ceiling complete with separate electronic driver . The fitting will provide glare free illumination with longer life and less maintenance. The model number of PHILIPS make( Model No-RC 380B LED 36S -6500 G6 L60 W60 PSU OD ) or its equivalent make in CROMPTON and WIPRO etc. | 65 | No | 2422 | 157430
The samples are to be got approved by LIC before installaing the same.
N.B :--supply & laying 3 core 1 sq.mm pvc insulated & pvc sheathed multi core copper conductor,round flexible cable as lead wire for light fittings from the existing ceiling roses to Light fittings for below mentioned item no-5.02 which is inclusive of cost of fittings.
5.02 | LED down light:--Supply,installation,testing and commissioning of LED round recessed down ligher of 12 to 15 Watt ( 1200 Lumen or more )suitable for armstrong/grid/pop ceiling with separate electronic driver . The fitting will provide glare free illumination with longer life and less maintenance. The model number of PHILIPS make( Model No-DN 172 12.5 S LED DL G2( CDL ) or its equivalent make in CROMPTON and WIPRO etc. | 20 | No | 804 | 16080
The samples are to be got approved by LIC before installaing the same.
| Surface LED Round light:--Supply,installation,testing and commissioning of LED round Ceiling light of 18 Watt with 3 core 1.5 sqmm Round cable from ceiling Rose ( 1800 Lumen or more )suitable for ceiling with separate electronic driver . The fitting will provide glare free illumination with longer life and less maintenance. The model number of CROMPTON make( Model No-LCDSPLN-S-18- CDL ) or its equivalent make in PHILIPS / WIPRO . | 4 | No | 1835 | 7340
5.03 | Supply & Installation of 400mm sweep wall mounted fans(Oscillation type) of with metal blade on the wall / column by suitable size steel expansion fastener with pull cord for speed regulation & all necessary accessories. | 25 | No | 3200 | 80000
5.04 | Supply & installation of decorative basin light LED fittings of 5 Watt( Slimeline) with all necessary connections.(on the wash basins ) | 7 | No | 625 | 4375
5.05 | Supply & installation of decorative false ceiling down LED fittings of 5 watt or more with all necessary connections with 2 core 1.0 sqmm round copper cable | 1 | No. | 430 | 430
5.06 | Supply,erection,testing & commissioning of 4 ft 22 Watt to 28 Watt LED light fitting with Round Blocks & necessary connections etc. The model number of PHILIPS make( Model No-BN021 LED 22S PSU CW GR ) or its equivalent make in CROMPTON and WIPRO etc | 15 | No | 1201 | 18015
5.07 | Supply & installation of 225 mm Exhaust Fan(Heavy duty) on the existing circular openings with modification ( if required) with Aluminium louvers and all necessary connections etc. | 8 | No | 2406 | 19248
5.08 | Supply, erection,testing,and commissioning of 1200mm( 48") sweep brown colour ceiling fan with condenser, double ball bearing,300 mm down rod,canopies,sackles etc but without speed regulator, suitable for operation with 230/240 volt, 50 Hz AC supply of approved make including all connections complete in all respect. | 10 | No | 1610 | 16100
| SUB-TOTAL (FITTINGS & FIXTURES) | E |  |  | 319018
6 | FIRE ALARM SYSTEM
N.B:--Prior to commencement of work the Firm is required to prepare the Lay-out for the Fire Alarm System as per the Modernization drawing and submit to LICI for approval.
6.01 | Supply, erection, jointing, testing and commissioning of Optical type Detector complete with base having blinking facility. | 45 | No | 1011 | 45495
6.02 | Supply, erection, jointing, testing and commissioning of Heat Detector | 4 | No | 939 | 3756
6.03 | Supply, erection, jointing, testing and commissioning of LED Indication type response indicator. | 15 | No | 172 | 2580
6.04 | Supply, erection, jointing, testing and commissioning of electronic type hooter cum warning lamp | 4 | No | 488 | 1952
6.05 | Supply, erection, jointing, testing and commissioning of Manual Call point. | 4 | No | 416 | 1664
6.06 | SITC OF FIRE ALARM PANNEL:-Supply,installation,testing and commissioning of Sector panel suitable for following zones, complete with visual indications for short cicuit fault,fire condition & all other standard facilities as per IS:2189 with mimic diagram for all area/zone covered complte with all connections,interconnections as required. ( 4 zone) | 1 | No | 10678 | 10678
6.07 | Removing & Re-fixing of existing 4 Zone Control Panel (Concealed/surface)as directed if found suitable. | 1 | Job | 750 | 750
6.07 | Supply and doing wiring with 2 core 1.5 Sqmm PVC insulated armoured Copper cable – with necessary saddles with spacers, to be installed on surface of wall or ceiling. Rate is inclusive of chase cutting & concealing as directed at site (measurement of the cable is to be ensured prior to erection of false ceiling). | 400 | Rm | 152 | 60800
| SUB-TOTAL (FIRE ALARM SYSTEM ) | F |  |  | 127675
7 | LT PANEL & ELECTRICAL INSTALLATION WORKS
ELECTRICAL CUBICLE PANNEL FOR AC
7.01 | Supply, installation, testing and commissioning of adequate size (to accomadate bus bars, change over switches & additional switch gears) meter panel fabricated with suitable size angle iron frame work, MS channel mounting base and 16SWG CRCA sheet steel, cubical type floor mounted, vermin & dust proof including providing detachable type doors. The panel shall be painted with 2 coats of synthetic enamel paint of approved shade both inside & outside. The control panel shall be compartmentalized separately for MCCBS, change over, bus-bars & MCB’s etc.. The panel doors should have knobs for opening & closing. The panel shall comprise of the following bus bars, indicating lamp, ameter & voltmeter, and additional switch gears as under :- | 1 | Set | 54177 | 54177
a) | 50mm. x 6mm. X 4 nos.Aluminium Busbars of suitable length - 01 Set for main bus bar & 25mm. x 5mm. X 4 nos Aluminium Busbars of suitable length - 01 Set for power and 20mm. x 5mm. X 4 nos Aluminium Busbars of suitable length - 01 Set for light load.
b) | Suitable rating Aluminium / copper Bus bars for interconnection with MCCBs above 100 Amps and chnageover switches etc.
c) | LED Indicator Lamps for Phase Indication - 03 nos
d) | Voltmeter, Ammeter digital type with selector switch along with CTs of suiable rating and all other accessories.
e) | Additional switchgear for the above panel are as details below:----
i) | 250 A, 415V, 4P, MCCB of 36 kA B.C with switched neutral, with adjustable thermal magnetic release | 1 | Nos. | 24228 | 24228
ii) | 160 A, 415V, 4P, MCCB of 36 kA B.C with switched neutral, with adjustable thermal magnetic release | 1 | Nos. | 13164 | 13164
iii) | 63/100 A, 415V, 4P, MCCB of 30 kA B.C with switched neutral, with adjustable thermal magnetic release | 7 | Nos. | 9349 | 65443
iv) | 63 Amp, 415V, 4P, MCB, 'C' series with 10 ka B.C | 1 | Nos. | 2302 | 2302
v) | 32 Amp, 415V, 4P, MCB, 'C' series with 10 ka B.C | 2 | Nos. | 1077 | 2154
vi) | 32Amp, 230V, DP MCB, 'C' series(10kA B.C.) | 8 | Nos. | 575 | 4600
vii) | 100 Amp. Front Operated FP On load Change Over switch | 1 | Nos. | 5330 | 5330
Note : The panel should have provision to take incoming cable from Electricity borard, DG set & outgoing for DBs.The rates are inclusive of 1 set of Voltmeter and Ammeter with selector switches & fuses, and phase indicating LED lamps, 3 no. C T coils.A drawing should be prepared by thecontractor & got approved from the competent authority.The panel should have provision for fixing 1no. 3-ph. energy meter (CT operated) with 3nos. I.C Cutouts of 200A & 1no. Neutral link. if required by Electricty board and spare sealing box of suitable size with hinged cover for energy meter to be provided, if required. Please note all inteconnections between MCCBs , Changeovers and Bus Bars shall be made by Aluminium Busbar of required cross section and size as required.
7.02 | Display of final duly laminated electrical line diagrams of individual BO building in meter rooms with supply & fixing on hard board & a frame of suitable size A-2 including supplying extra two – two copies each to LIC. | 1 | Job. | 3500 | 3500
7.03 | supply & fixing of following size XLPE insulated aluminium conductotr armoured cable 1100 volt grade along with 2 runs of GI wire as earth wire as mentioned against each item on the surface of the wall or underground as the case may be with the help of GI saddles on the surface of the wall or ceiling with spacers including termination on either end with required size of aluminium sockets .Rate is inclusive of suitable size cable glands etc.
( a) | 3.5 Core 120 sq mm.+ 2 x 12 SWG, GI wire as continuous earth from Sub-station Feeder Panel to Main LT Panel. | 100 | RM | 1091 | 109100
( c ) | 3.5 Core 35 sq mm.+ 2 x 12 SWG, GI wire as continuous earth(IT Room TP DB & AC Vertical DB 1ST FLOOR ) | 50 | Rm | 449 | 22450
( d ) | 3.5 Core 25 sq mm.+ 2 x 12 SWG, GI wire as continuous earth. | 20 | RM | 390 | 7800
7.04 | Laying of one number PVC insulated & PVC Sheathed /XLPE power cable of 1.1 KV grade of following size direct in ground incluiding excavation ,sand cushioning,protective covering by Brick three side & refill the trench etc as directed. (Above 95 sqmm & upto 185 sqmm ) | 30 | RM | 370 | 11100
7.05 | P:C:C Pavement cutting in any thickness incluiding disposal of Debris ( 500 mtr away ) | 1.5 | CUM | 941 | 1411.5
7.06 | Providing B Class GI Pipe of 75 mm incluiding T joints ,Bends etc. | 10 | RM | 980 | 9800
7.07 | supply & laying of following size XLPE insulated Copper conductotr armoured cable 1100 volt grade along with 2 runs of HDBC wire as earth wire as mentioned against each item on the surface of the wall or underground as the case may be with the help of GI saddles on the surface of the wall or ceiling with spacers including termination on either end with required size of aluminium sockets .Rate is inclusive of suitable size cable glands.
(a ) | 4 Core 10 sq mm.Cu.+2 Run of 14 SWG HDBC wire ( For AC TP DB ) | 100 | Rm | 880 | 88000
7.08 | Supplying and fixing of following way, single pole and neutral, sheet steel, company made MCB distribution board, 240 volts, on surface/ recess/Concealed( as directed), complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
(a) | 8 way, Double door . | 1 | Set | 2030 | 2030
( b) | 12 way, Double door (IT-02 +Floor-03) | 5 | Set | 2256 | 11280
7.09 | Supplying and fixing of following ways horizantal type surface/ recess mounting, 415 volts, company made TPN MCB distribution board , complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
( a) | 4 way (4 + 12), Double door ( IT-01, Floor DB-01 ) | 2 | Set | 3587 | 7174
7.1 | Supplying and fixing of following ways VERTICAL type surface/ recess mounting/Concealed, 415 volts, company made TPN MCB distribution board of sheet steel,dust protected,duly power painted, inclusive of 200 Amp tinned copper BUS BAR, Common neutral link, earth bar,din bar , interconnections, powder painted including earthing etc. for mounting MCBs(but without MCBs & Incomer) as required.Note : Vertical type MCB TP DB is normally used where three phase outlets are required )
( a) | 4 way (4 + 12), Double door | 1 | Set | 6587 | 6587
7.11 | Supplying and fixing 5 amps to 32 amps rating, 240 / 415 volts, "C" curve, 10KA miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
a | Single pole | 60 | No | 224 | 13440
b | Double pole | 20 | No | 575 | 11500
c | Four Pole | 4 | Nos | 1077 | 4308
7.12 | Supply & installation of following capacity MCB along with factory made enclosure of same make with the follwing configuration: |  |  |  | 0
(a) | 63 Amp FP MCB( C-SERIES) | 5 | Set | 4409 | 22045
(b) | 32 Amp DP MCB(C-SERIES) | 3 | Set | 3667 | 11001
7.13 | Removing of existing MS Switch Boxes(Piano Switch Boxes) &Supply , Installation of MS Box in concealed manner with inner cover & face plate of the same make of that switches suitable for modular switches on walls / partitions or as directed at site after dismantling the existing switch boards from the existing locations or as directed for the followings :--
(a ) | 1 or 2 Module(75 mm x 75 mm ) | 5 | No | 261 | 1305
(b) | 3 Module(100mm x75 mm) | 8 | No | 287 | 2296
( c) | 4 Module(125 mm x75 mm) | 8 | No | 300 | 2400
( d ) | 6 Module( 200 mm x 75 mm ) | 10 | No | 352 | 3520
(e ) | 8 Module(125 mm x 125 mm ) | 15 | No | 398 | 5970
(f ) | 12 Module( 200 mm x150 mm) | 10 | No | 480 | 4800
7.14 | Supplying & fixing following Rating Double pole (Single phase & neutral) 240V, Residual current circuit breaker(RCCB) having a sensitivity current 30mA in the existing MCB DB complete with connections,testing & commissioning as required.
(a) | 40 Amp. | 4 | No. | 2795 | 11180
7.15 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
(a) | 5/6 amps switch | 125 | Each | 90 | 11250
(b ) | 2 Way 5/6 Amp Switch. | 6 | Each | 130 | 780
( c ) | 15/16 amp switch | 20 | Each | 137 | 2740
( d) | 3 pin 5/6A socket outlet | 40 | Each | 107 | 4280
( e) | 6 pin 15/16 amp socket outlet | 4 | Each | 173 | 692
( f) | Bell push | 1 | Each | 123 | 123
7.16 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 25 | Each | 35 | 875
7.17 | Supplying and fixing stepped type electronic (2 Module) fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 10 | Each | 324 | 3240
7.18 | Supplying & fixing of Brass Batten/Angle holder incluiding connection etc. | 10 | Each | 96 | 960
7.19 | Wiring for group controlled(Looped light) without independent switch with 1.5 sqmm FRLS PVC insulated copper conductor single core cable in surface/recessed PVC conduit & earthing the point with 1.5 sqmm FRLS PVC insulated copper conductor single core cable etc. as required.( 5 to 6 LED light of 12 Watt /5 Watt ) | 8 | Pt. | 569 | 4552
7.2 | Supplying & fixing suitable size GI Box with Modular plate & cover on concealed or recess incluiding providing & fixing 25 Amp Modular Socket outlet & 25 Amp Modular SP MCB C Curve incluiding connections painting etc. as required.(For 1.5 Tr AC/ 2.0 Tr) | 5 | Each | 637 | 3185
7.21 | Supplying & fixing of Call bell/buzzer suitable for single phase 230V Complete as required. | 1 | Each. | 87 | 87
7.22 | Supplying & fixing 3 pin 5 Amp ceiling rose on the existing junction box/wooden block incluiding connections etc. as required. | 20 | Each. | 76 | 1520
7.23 | Dismantling of existing ceiling fans and handing over to LICI with proper acknowledgement. (Ceiling fans to be dismantled as directed) | 35 | No | 40 | 1400
7.24 | Dismantling of existing exhaust fans and handing over to LICI with proper acknowledgement. | 1 | No | 40 | 40
7.25 | Dismantling of fluorescent tube light fittings with down rods & tubes as directed at site or handing over to LICI with proper acknowledgement. . | 5 | No | 40 | 200
7.26 | Refixing of old ceiling fan / Exhaust fan / Tuble light fittings in new BO building including servicing & shifting from old BO building. | 1 | No | 150 | 150
7.28 | WIRING
Wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class FRLS conduit as required
| 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | 30 | RM | 810 | 24300
| 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 100 | RM | 516 | 51600
| 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 100 | RM | 375 | 37500
| 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 50 | RM | 324 | 16200
| 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 40 | RM | 287 | 11480
POINT WIRING
7.29 | Wiring for light point/ fan point/ exhaust fan point/ call bell point (NEW ) with 2X 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class FRLS conduit, with modular switch, modular plate, suitable G.I. box and earthing the point with 1.5 sq.mm. FRLS PVC insualted copper conductor single core cable etc. as required. Rate include cost of switch, plate etc. and circuit wiring with 3 x 2.5 Sqmm FRLS wire in suitable medium guage FRLS PVC conduit from DB to switch board/ switch board to switch board. | 100 | Pt. | 890 | 89000
7.3 | Providing plug point on switch board including supplying & fixing of 10 Amp, 5 pin modular socket and 10 Amp modular switch of Anchor Roma or its equivalent make as per tender specifications including all connections. | 5 | No | 294 | 1470
7.31 | Supply and fixing of 12 watt LED Lamp of approved make. | 10 | No | 170 | 1700
7.32 | Supply & fixing of call bell of approved make including connections. | 1 | No | 120 | 120
7.33 | Wiring for Wall Fan plug point 2x1.5 sqmm copper wire incluiding Modular Type 5 pin 5 Amps socket & 5 Amp Switch all mounted in same Modular box.MS Box covered with switch plate,face plate incluiding earthing 3 rd pin with 1.5 sqmm pvc insulated copper wire, PVC Conduit etc as required..(For wall fans ) | 20 | Pt. | 690 | 13800
7.34 | Supply and installation of earth station with copper plate of size 600 × 600 × 3 mm bolted by means of G.I. bolts and nuts with 2.7 mtr. Long 15 mm dia G.I. pipe, B-Class with 2 runs of 8 SWG bare copper conductor from the plate upto the top of the electrode. The copper plate is to be buried 2.5 mtr. Below the G.L. & 4.5 mtr. Away from the building. Foundation as per I.S. – 3043 – 1987 code of practice or its latest version including provision for watering arrangement through 20 mm dia B-Class G.I. pipe and G.I. funnel, masonry chamber with concrete cover and lifting arrangement (incluiding Charcoal /coke & salt as required.) | 1 | Set | 12133 | 12133
7.35 | Providing & laying earth connection from earth electrode with 2X 4.0 mm dia copper wire in 15mm dia GI Pipe ( cost of 15 mm B -Class pipe is incluided) from earth electrode incluiding connection with copper thimble excavation & re-filling as required. | 35 | RM | 324 | 11340
7.36 | Supplying & fixing of 25 Amp,240V, SPN Industrial type socket outlet with 2 pole & earth,metal enclosed Plug Top alongwith 25Amp C Curve SP MCB in sheet Metal enclosure on surface or recess with chained metal cover for the socket outlet & complete with connection ,testing & commissioning etc as required. | 4 | Sets | 1421 | 5684
7.37 | Supply,installation,testing and commissioning of 63 Amp, DP Changeover switch in steel sheet enclosure off load type on suitable angle iron frame . | 1 | Sets | 3620 | 3620
7.38 | Supply & Fixing of 63Amp 10kA MCB C-Series in sutable size sheet steel enclosure incluiding connection etc. | 1 | No | 2825 | 2825
7.37 | Supplying and fixing DP sheet steel enclosure on surface/recess along with 32 Amps 240 volts "C" curve DP MCB complete with connections, testing and commissioning etc. as required. | 2 | No. | 744 | 1488
7.38 | Supplying and fixing of 63.0 A DP MCB C Series in MS Enclosure complete with interconnection. | 2 | No. | 997 | 1994
7.39 | Supplying and fixing of 32.0 A, 4P, MCB C Series in MS Enclosure complete with interconnection. | 1 | No. | 1367 | 1367
7.4 | Supplying and fixing of 63.0 A, 4P, MCB C Series in MS Enclosure complete with interconnection. | 5 | No. | 1950 | 9750
7.41 | supplying & fixing of 25 A ,240 V ,SPN Industrial type socket outlet with 2 pole and earth , metal enlosed plug top along with 25 A C Curve SP MCB in sheet enclosure on surface or in recess with chained metal cover for the socket outlet and complete with connections , testing and comissioning etc as required. | 6 | No. | 1421 | 8526
EARTH STATIONS(GI)
7.42 | Supply & Installation of earth electrode made of 40 mm dia. B-class G.I. pipe of 4.5 meter long as per IS-3043 – 1987 code of practice & its latest version with brick masionary chamber, concrete slab cover of 50 mm thick with lifting arrangement, including providing charcoal & salt in alternate layer, GI funnel for watering, clamping arrangement with bolts & nuts at the top of GI pipe electrode for connecting the earth wires as per the sketch enclosed | 2 | Sets | 6010 | 12020
7.43 | Supply & fixing of Cu. Earth Busbar of size 25 mm x 3 mm x 250 mm incluiding connection etc. | 3 | No | 320 | 960
7.44 | Supplying & laying of of 6 SWG G.I wire at 0.50 meter below ground level for conductor earth electrode incluiding connection/termination with GI thimble etc. as required. | 40 | RM | 45 | 1800
7.45 | SITC of S- Type Fan Hook :--Supplying & fixing of "S-" Type Fan Hook 12 mm dia M.S Rod.The fan Hook shall be fixed to the R.C.C Ceiling & plastered to the original finish. | 1 | Each | 240 | 240
7.46 | Supply & Fixing of white bakelite sheet incluiding nut screws etc. | 1000 | sqinch | 1 | 1000
7.47 | Dismantling the existing UPS(5 KVA/7.5 KVA) alongwith Battery Bank from old IT Room & to be shifted to New IT Room incluiding Connection etc. | 2 | Job | 1000 | 2000
7.48 | Temporary arrangement of LAN /UPS Pts/ Electrical etc. as directed for Functioning of Branch Office during execution period of work as well as the old data cables/ UPS wiring etc is to be removed from the flooring etc as directed. | 1 | Job. | 6000 | 6000
| Sub-Total (LT PANEL & ELECTRICAL INSTALLATION WORKS ) | G |  |  | 739988.5
8 | AIRCONDITIONING SYSTEM
8.01 | Supply Installation Testing and Commissioning of Following capacity DUCTABLE SPLIT UNITS having SCROLL type double compressor & suitable for operations on 3 phase, 415 volt +/- 10 % with ceiling suspended copper evaporation units, outdoor type compressor, copper condenser units, microprocessor based control panel Please note that the AC unit’s main power supply is to be tapped from the MCB controllers. The CONDENSING & EVAPORATING COILS SHALL BE MADE OUT OF GOOD QUALITY COPPER TUBES.
Installation:-Ceiling suspended evaporation units & outdoor type compressor condenser units. The indoor unit shall be suspended with ceiling by means of dash fasteners, 12mm dia. M.S. rods with check nut. The out door unit is to be installed on terrace / outdoor with suitable size of M.S frame, its legs grouted by using cement & sand etc. OR installed on outer wall duly supported with suitable size of MS angle iron frame of balcony Type & channel of adequate capacity, strong enough to take load of machine and mechanics, including providing anti vibration pads & topping up of R-410-A /407-C or lates gas as mentioned in Technical Specifications after Vacuum and pressure testing complete as per site requirements. Including providing & fixing flexible canvas connection etc.
Make: Hitachi / Carrier / Voltas / Bluestar/
(a) | 8.25/8.5/8.75 TR ( as per manufactuerer rating) DUCTABLE UNITS( Twin Circuit) | 4 | set | 175000 | 700000
(b) | 5.5TR DUCTABLE UNITS( Twin Circuit) | 1 | set | 160000 | 160000
| Providing & fixing refrigerant copper pipe of required size for 8.5 TR and 5.5 TR ductable split AC unit, using 18 SWG copper tubes for liquid and gas lines duly insulated with nitrile rubber insulation. (Please note suction & discharge line of each compressor will be treated as one circuit .the circuit length will be treated as one circuit.the circuit lenght will be measured in running meter.) | 90 | RM | 1600 | 144000
8.02 | Design, Fabrication,Supplying,& installating of Galvanised steel sheet (SAIL/ TATA/ JINDAL/ ISPAT) duct including providing M.S. angle support, flanges, hanger rods & making good all damages etc. complete of following Gauge/ size& vibration insulation pad between duct & support.
a | 22 Gauge | 45 | sqm | 890 | 40050
b | 24 Gauge | 126 | sqm | 800 | 100800
8.03 | Providing & fixing of Accoustic insulation with 12mm thick fibre glass cover insulation, fixed by using shakolite primer, hot bitumen, wire netting or covered with RP tissue paper. | 52 | sqm | 480 | 24960
8.04 | Providing & fixing of thermal insulation to the duct with 25mm thick fibre glass covered with polythene face hessian/ aluminium foil from out side. The insulation shall be painted black wherever necessary. | 200 | sqm | 570 | 114000
8.05 | Providing & fixing Aluminium powder coated return/ supply air grills without volume control damper. | 13 | sqm | 5900 | 76700
8.06 | Providing & fixing Aluminium volume control damper for grills. | 5 | sqm | 5800 | 29000
8.07 | Providing & fixing Aluminium powder coated supply air diffuser with alum. volume control damper. | 5 | sqm | 7600 | 38000
8.08 | Providing & fixing Aluminium powder coated supply air diffuser without alum. volume control damper. | 4 | SQM | 6600 | 26400
8.09 | SITC of Copper Cable : Supply,installation,testing & commissioning of suitable size copper interconnection cable from out door to indoor unit in suitable size PVC pipe for Ductable Split Acs. | 150 | RM | 180 | 27000
8.1 | Supply Installation, Testing & commissioning of following capacity High wall split Room Air Conditioners having rotary compressor and all accessories consisting of high wall mounting type Indoor unit with remote control and out door unit consisting of compressor, condenser coil, laying of refrigerant pipe up to 3.0 mtr length, condenser fan operating with single phase 230 volt AC supply, protection unit for under voltage, complete in all respect including suitable size Cu.Flexible Round cable for input power supply as well as indoor to out door power cable. Rate should include for initial gas charging/ filling and mounting arrangement for both indoor & outdoor unit including brick masonry works/ suitable bracket etc. (5 Star rated Inverter)(The copper pipe up to 3 meter will not be measured per machine)( Make-Hitachi/Voltas/Carrier/Blue star )
(a) | 1.5 TR | 2 | Set | 39500 | 79000
(b) | 2.0 TR | 2 | Set | 48000 | 96000
8.11 | Supply Installation, Testing & commissioning of 4 way 2.0 TR 5 star Cassette Type Air conditioner with scroll/ rotary/twin rotary compressor, having R32/R37/R/410(Eco friendly) refrigerent including indoor unit out door unit, decorative grills and cordless remote and machine shall have copper condensor unit. Control cable between indoor and outdoor unit & suitable for operation on 50 Hz single phase AC supply etc.( Make-Hitachi/Voltas/Carrier/Blue star ) | 3 | Set | 85000 | 255000
8.12 | Providing & fixing following size of Rigid PVC Drain pipe with all accessories etc. complete on wall/ beam/ ceiling in concealed manner by chasing wall/ floor or on surface including providing of U trap to avoid sweating/ condensation specially on false ceiling up to a height of one meter above the plinth protection.
a | 25mm dia | 90 | Rm | 90 | 8100
b | 100mm dia | 10 | RM | 330 | 3300
8.13 | Providing & fixing refrigerant copper pipe of required size with nitrile rubber/Heatlon insulation for following size of A.C. Units with the help of GI sadling on wall or with suitable hangers from the ceiling as the case may be . (Note:The measurement shall be taken for the refrigerant pipe including the control cable from ODU to IDU and all the three items (suction,preesure & control cable ) shall be considered as one run).( The measurement will be taken in running meter excluding 3 .0 meter length).
(a) | 1.5 Tr/ 2.0 Tr/2.5 Tr. highwall split/ Casstte AC units | 25 | Rm | 580 | 14500
| SUB-TOTAL (AIRCONDITIONING SYSTEM ) | H |  |  | 1936810
| Total Value( A+B+C+D+E+F+G+H) |  |  |  | 3504081.5
| Say |  |  |  | 3504081
Salvage for old items:
9.01 | Dismantelling and taking away old / unserviceable indoor andd outdoor units including refrigerant pipe etc. of 1.5 TR Hi wall split AC machines from BO Hazaribagh. | 7 | Nos. | -4000 | -28000
9.01 | Dismantelling and taking away old Electrical Panel, swithgears, wires conduits, swithes sockets etc.(Old Tublight fittings & ceiling fans excluded and the same should be handedover to branch office). | 1 | LS | -30000 | -30000
| Total Salvage Value |  |  |  | -58000

## Summary
(FINANCIAL/ PRICE BID )
Proposed re-modernization of Branch Office at Hazaribagh under Hazaribag Divisional office
Estimated Cost |  |  |  | In Rupees.
ESTIMATED COST FOR CIVIL WORKS INCLUDING PRIME COST: |  |  |  | 6040958
LESS : PRIME COST ITEM ( - ) |  |  |  | 50000
TOTAL ESTIMATED COST AFTER DEDUCTION OF PRIME COST ITEM : |  |  |  | 5990958
TOTAL ESTIMATED COST FOR ELECTRICAL WORKS |  |  |  | 3504081
TOTAL ESTIMATEED COST EXCLUDING PRIME COST |  |  |  | 9495039
Fill up the Name of the Firm/Bidders
Name of The Work | Estimated Cost (Rs.) | Quoted Percentage above or below the estimated cost. | Contractor has to quote [ percentage (%) in Figures ] | Quoted amount (above/below//at par
Proposed re-modernization of Branch Office at Hazaribagh under Hazaribag Divisional office | 9495039 | Above (+) | 0%
Amount [arrived after adjusting % quoted (Total Cost) { Net Quoted Tender Amount}
ADD : PRIME COST ITEM ( ( + ) (Rs.) |  |  |  | 50000
Tender amount including prime cost |  |  |  | 50000
Amount of buy back (58000/-+ 18% GST) |  |  |  | 68440
Submitted tender amount after including prime cost & buyback (Fixed value)
Amount in words | Rs.....................................................................................................................only
This is the part of Main Tender Documents. The amount quoted herewith is after proper study, understanding and acceptance of all terms and conditions of Tender Documents and items description and corresponding rates of schedule of quantities.